Attachment 1 - Technology/Business Unit (BB), Facility/Generation Group (AA) & Approved Combinations of BB-AA

Technology / Business Unit Identifiers are two-letter alpha designators as follows:

| Identifier | Technology/Business Unit |
| --- | --- |
| GG | Gas Generation |
| DE | District Energy (not currently used) |
| HY | Hydro (not currently used) |
| WD | Wind |
| GW | Generation |
| DG | Distributed Generation (DSTGN & EIESI Business Units) |

# Approved Combinations of BB-AA

Technology / Site/Business Unit (“BB”) identifiers are only combined with certain Facility Specification / Generation Group (“AA”). The following are the approved combinations.

| BB |  | BB-AA “Facility/Generation Group” |
| --- | --- | --- |
| DG | DG-ST | Distributed Generation – Stoney Transit Facility (EIESI) |
|  | DG-VS | Distributed Generation – Village Square (DSTGN) |
| GG | GG-CF | Crossfield Energy Centre |
|  | GG-CG | Calgary Energy Centre |
|  | GG-CV | Cavalier Energy Centre |
|  | GG-SH | Shepard Energy Centre |
| GW | GW-GN | Generation fleet-wide application (across all ENMAX Energy) |
|  | GW-GW | Generation specific application |
|  | GW-WH | Generation Wholesale / Commercial Energy application |
| WD | WD-KH | Kettles Hill Wind Energy |
|  | WD-TB | Taber Wind Farm |

Attachment 2 – Units (UU)

| BB-AA |  | UU | Description |
| --- | --- | --- | --- |
| DG-ST | Distributed Generation – Stoney Transit Facility (EIESI) | 00 | Stoney Transit Facility (STF) – Balance of Plant |
|  |  | 01 | Stoney Transit Facility (STF) – Unit 1 (800kWt) |
| DG-VS | Distributed Generation – Village Square (DSTGN) | 00 | Village Square Leisure Centre (VSLC) – Balance of Plant |
|  |  | 01 | Village Square Leisure Centre (VSLC) – Unit 1 (800kWt) |
| GG-CG | Calgary Energy Centre | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 | CTG |
|  |  | 02 | STG |
|  |  | 03 | HRSG |
|  |  | 04 | CEC Expansion (southernmost unit) |
|  |  | 05 | CEC Expansion - middle unit |
|  |  | 06 | CEC Expansion – northern most unit |
|  |  | 99 | Plant Substation |
| GG-CF | Crossfield Energy Centre | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 | CTG unit 1 - LM6000 |
|  |  | 02 | CTG unit 2 - LM6000 |
|  |  | 03 | CTG unit 3 - LM6000 |
|  |  | 99 | Plant Substation |
| GG-CV | Cavalier Energy Centre | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 | CTG 1 |
|  |  | 02 | CTG 2 |
|  |  | 03 | STG 3 |
|  |  | 90 | Electrical Systems |
|  |  | 99 | Plant Substation |
| GG-SH | Shepard Energy Centre | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 | CTG unit 1 |
|  |  | 02 | CTG unit 2 |
|  |  | 03 | STG |
|  |  | 99 | Plant Substation |
| WD-TB | Taber Wind Farm | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 – 37 | Wind turbine unit |
|  |  | 99 | Plant Substation |

| BB-AA |  | UU | Description |
| --- | --- | --- | --- |
| WD-KH | Kettles Hill Wind Energy | 00 | General, unassigned, or facility common equipment, default |
|  |  | 01 – 35 | Wind turbine unit |
|  |  | 99 | Plant Substation |
| GW-GN | Generation | 00 | General |
| GW-GW | Generation | 00 | General |
| GW-WH | Wholesale Energy | 00 | General |

# Attachment 3 - Domain/Group/Area of Responsibility (DDD) Applicable to Coding of Documentation and Drawings

The domain, grouping, or authority identifiers will be three-letter alpha designators as follows:

| Domain | Domain/Group/Area of Responsibility Description |
| --- | --- |
| AES | Alberta Electric System Operator - AESO |
| AMS | Asset Management System |
| ARS | Alberta Reliability Standards |
| BUD | Business Development |
| CAP | Corrective Action Program |
| CCM | Construction – Construction Management |
| CPM | Construction – Project Management |
| DOC | Document Management |
| ECS | Engineering – Civil Structural Architectural |
| EEL | Engineering – Electrical |
| EIC | Engineering – Instrumentation and Controls |
| EMM | Engineering – Management |
| EMP | Engineering – Mechanical, Process and Piping |
| ENG | Engineering |
| ENV | Environment |
| FIN | Finance |
| FSM | Fire Safety Management |
| GEN | Generation |
| JVP | Joint Ventures & Partnerships |
| MNT | Maintenance |
| OEM | Original Equipment Manufacturer |
| OHS | Occupational Health & Safety |
| OPS | Operations |
| PIR | Problem Identification and Resolution |
| PMO | Project Management |
| QAP | Quality Assurance Program |
| SAF | Safety |
| SCM | Supply Chain Management |
| WHE | Wholesale Energy |

# Attachment 4 - Topic/Business Process Identifiers (SSS) Applicable to Coding of Documentation and Drawings

Business-Process Identifiers will be three-letter alpha designators as follows:

| Business- Process Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| ABS | Alberta Boilers Safety Association - ABSA |  |
| ADM | Administration |  |
| BMP | Business Management Procedures |  |
| CAA | Clean Air Act |  |
| CGH | Chemical & Liquid Gas Handling |  |
| CHM | Chemistry Procedures |  |
| CIP | Critical Infrastructure Protection | ARS, EIC, OPS |
| CSD | Computers and Data Protection |  |
| CWP | Water Management and Compliance |  |
| DES | Design |  |
| EHS | Environment Health & Safety |  |
| EMS | Environmental Management |  |
| EOP | Emergency Preparedness and Operations | ARS |
| ERP | Emergency Response Planning |  |
| EWP | Engineering Work Package |  |
| FAC | Facility Connection Requirements | ARS |
| FMC | Foreign Material Control |  |
| FPP | Fall Protection Plan |  |
| GSR | General Safety Rules |  |
| HMW | Hazardous Materials and Waste Handling |  |
| HZM | Hazard Management and Assessment |  |
| IMA | Incident Management Administration |  |
| IMP | Integrity Management Plan |  |
| ISO | AESO – Independent System Operator | ARS |
| MGT | Management |  |
| MOC | Management of Change |  |
| OHH | Occupational Health and Hygiene |  |
| OPP | AESO – Operating Policies and Procedures | ARS |
| ORG | Organizational |  |
| PER | Personnel |  |
| Business- Process Identifier | Topic Description | Only for use here |
| PPE | Personal Protection Equipment |  |
| PPM | Plant Performance Monitoring |  |
| PRC | Protection and Control | ARS |
| QAC | Quality Assurance and Control |  |
| QAM | Maintenance Qualification |  |
| QAO | Operations Qualification |  |
| QMS | Quality Management System |  |
| RCA | Root Cause Analysis |  |
| REL | Reliability |  |
| RSK | Risk Management |  |
| SCC | Safety Code Council |  |
| SIA | Safety Inspections and Audits |  |
| SPP | Spill Management and Compliance |  |
| SSC | Systems, Structures and Components |  |
| TOP | Transmission Operations | ARS |
| TRD | Trending |  |
| TRG | Training |  |
| VAR | Volt-Ampere Reactive | ARS |
| WPR | Worker Protection |  |
| ZEC | Zero Energy Control |  |

Attachment 5 - Non-Business-Process System Identifiers (SSS)

Applicable to Coding of Documentation and Drawings (Not used in Maximo)

Non-Business-Process System identifiers will be three-letter alpha designators as follows:

| Non-Business- Process Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| AAA | Table of Contents or Front End |  |
| ARC | Architectural |  |
| BLD | Buildings and Structures |  |
| BSA | Building – Generation |  |
| BSD | Building – Admin/Control/Maintenance |  |
| BSF | Building – Plant Services |  |
| BSG | Building – Compressed Gas Storage |  |
| BSH | Building – Circulating Water Pump House |  |
| BSO | Building – Water Treatment |  |
| BSQ | Building – Yard Services |  |
| BSU | Building – Miscellaneous |  |
| CFN | Civil – Foundations |  |
| COM | Plant Communications |  |
| CPW | Construction – Temporary Power |  |
| CST | Civil – Structures |  |
| CSU | Commissioning and Start-Up |  |
| CTF | Construction – Temporary Facilities |  |
| CTV | Closed Circuit Television |  |
| DEM | Demolitions – Plan and Sequence |  |
| EVD | Equipment Ventilation and Drains |  |
| FAG | Facility, Plant and Site – General, Overall and Site-wide |  |
| FBR | Fiber-Optics Network |  |
| FLD | Field Erection |  |
| GAU | General Arrangements | Shepard |
| GEO | Geology and Geotechnical |  |
| GND | Grounding |  |
| INS | Instrumentation – Site-wide |  |
| LAR | Operator Log Book |  |
| LAS | Lightning Arrestor and Protection |  |
| Non-Business- Process Identifier | Topic Description | Only for use here |
| LSI | Landscaping and Irrigation |  |
| LTA | Building Lighting – Generation |  |
| LTD | Building Lighting – Admin/Control/Maintenance |  |
| MOD | Modeling, Data, and Analysis |  |
| NDP | Network Distribution Panel |  |
| NFW | Network Firewall |  |
| NGW | Network Gateway |  |
| NMC | Network Media Converter |  |
| NRT | Network Router |  |
| NSW | Network Switch |  |
| OMU | Operations Manual Users |  |
| PID | Piping and Instrumentation | Cavalier Maximo asset only |
| SDA | Site Development – Access Roads |  |
| SDF | Site Development – Site Finishing and Fencing |  |
| SDG | Site Development – General |  |
| SDP | Site Development – Site Preparation |  |
| SDR | Site Development – Railroads |  |
| SDT | Site Development – Sanitary Drainage and Treatment |  |
| SDU | Site Development – Underground Services |  |
| SST | Structural Steel – Structure, Curtain Wall and Cladding |  |
| STL | Structural Steel – Ladders and Platforms |  |
| STP | Structural Steel – Pipe and Cable Racks |  |
| SWD | Site Development – Stormwater Drains and Ponds |  |
| TEL | Telephone Systems |  |
| TNK | Tanks and Bins |  |
| VLV | Valves – Site-wide |  |

Attachment 6 - Process System Identifiers (SSS)

Applicable to Both Maximo and Coding of Documentation / Drawings

Process System Identifiers will be three-letter alpha designators as follows:

| Process System Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| ABB | Auxiliary Boiler – Blowdown |  |
| ABF | Auxiliary Boiler – Feed (Chemical) |  |
| ACB | AC Battery Backup System | Cavalier |
| ACC | Air Cooled Condenser |  |
| ACS | Acid and Caustic System |  |
| ACW | Auxiliary Cooling Water |  |
| AFW | Auxiliary Feed Water |  |
| AIR | Plant Air |  |
| AQM | Air Quality Monitoring |  |
| AST | Ammonia Storage and Transfer |  |
| AVR | Automatic Voltage Regulation |  |
| AXB | Auxiliary Boilers |  |
| AXG | Auxiliary Gear |  |
| BBS | Boiler – Blowdown |  |
| BCS | Boiler – Circulation Water |  |
| BCW | Bearing Cooling Water |  |
| BES | Battery Energy Storage System |  |
| BFC | Boiler Feedwater Chemical Feed system | Cavalier |
| BFW | Boiler – Feed Water |  |
| BLA | Bleed Air |  |
| BLG | Boiler – Gas Side |  |
| BLR | Boiler |  |
| BLS | Boiler – Steam Side |  |
| BPC | Blade Pitch Control |  |
| BPT | Boiler – Water Pre-Treatment |  |
| BSS | Boiler – Sampling Steam Water |  |
| BVD | Boiler – Vents and Drains |  |
| CCF | Cycle Chemical Feed |  |
| CCS | CO Catalyst |  |
| CCW | Closed Cycle Cooling Water |  |

| Process System Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| CDF | Cloth Disk Filter |  |
| CDO | Carbon Dioxide (CO2) Storage & Supply |  |
| CDS | CLO2 (Chlorine Dioxide) System | Cavalier |
| CEM | Continuous Emissions Monitoring - CEMS |  |
| CFS | Control Fluid and Hydraulics |  |
| CHC | Chemical Cleaning |  |
| CHP | Combined Heat and Power |  |
| CLA | Cooling Air |  |
| CMB | Combustor |  |
| CMP | Compressor |  |
| CMU | Condensate Make-up |  |
| CNA | Condenser Air Extraction |  |
| CND | Condenser |  |
| CNP | Condensate Polishing |  |
| CNS | Condensate |  |
| CNT | Control |  |
| COB | Control – Local Control / Remote Dispatch |  |
| COC | Control – Unit Protection |  |
| CPS | Unit Control and Protection |  |
| CPU | Cathodic Protection |  |
| CTA | Combustion Turbine – Auxiliaries (off-base) |  |
| CTG | Combustion Turbine – Generator Set |  |
| CTW | Cooling Tower |  |
| CWC | Circulating Water Chemical Feed |  |
| CWD | Chemical Waste Drainage |  |
| CWM | Circulating Water Make-up |  |
| CWS | Circulating Water |  |
| DBU | Duct Burner Unit |  |
| DCB | DC Battery Backup System | Cavalier |
| DCS | Distributed Control |  |
| DHS | Downhole System | Cavalier |
| DHW | Domestic Hot Water | Cavalier |
| DMN | Demineralizer |  |
| DWS | Domestic Water System | Cavalier |

| Process System Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| ECO | Economizer |  |
| ECS | Emissions Control |  |
| EDC | Electrical DC Power Supply |  |
| EEC | Electrical Raceway, Cable Tray, Conduit |  |
| EGS | Emergency Generator |  |
| EHA | High Voltage AC (> 34000 V) |  |
| ELA | Low Voltage AC Power (<1000V) |  |
| ELB | Low Voltage AC Power (<300V) |  |
| ELC | Low Voltage AC Lighting and Convenience Power (<300V) |  |
| ELE | Electrical |  |
| ELS | Emergency Lighting |  |
| EMA | Medium Voltage AC (1000 to 5000V) |  |
| EMB | Medium Voltage AC (over 5000 to 8000V) |  |
| EMC | Medium Voltage AC (over 8000 to 34000V) |  |
| ENC | Enclosure |  |
| EUP | Uninterruptible Power |  |
| EXR | Energy Transfer |  |
| EXT | Combustion Turbine – Exhaust Section |  |
| FAS | Fire Alarm |  |
| FGS | Fuel Gas Supply |  |
| FIM | Fog and Ice Monitoring |  |
| FIR | Fire Protection |  |
| FOS | Fuel Oil Supply |  |
| FPS | Freeze Protection / Electrical Heat Tracing |  |
| FSS | Fire Suppression and Storage |  |
| FWP | Filtered Water Pumping System | Cavalier |
| FWS | Fire Water |  |
| FWT | Filtered Water System | Cavalier |
| GBD | Generator Bus Duct |  |
| GCB | Generator Circuit Breaker |  |
| GCL | Generator Cooling and Purge |  |
| GCS | Glycol Cooling System | Cavalier |
| GDE | Gas Driven Engine (reciprocating) |  |
| GEN | Generator |  |

| Process System Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| GLY | Glycol Heating |  |
| GPP | General Power Plant Precautions |  |
| GSS | Gland Seal Steam Turbine |  |
| GSU | Generator Step-up Transformer |  |
| GTG | Gas Turbine – Generator |  |
| HEH | Heating Energy – Hot Water |  |
| HES | Heating Energy – Steam |  |
| HIP | HP / IP Turbine |  |
| HPD | Waste Water Holding Pond System | Cavalier |
| HRF | HRSG – Flue Gas Side |  |
| HRG | HRSG – Heat Recovery Steam Generator |  |
| HRS | HRSG – Steam Side |  |
| HSO | Hydrogen Seal Oil |  |
| HVA | HVAC – Heating, Ventilation, Air Conditioning |  |
| HYD | Hydrogen Storage & Supply |  |
| IAP | Inlet Air Preheating |  |
| IAS | Instrument Air |  |
| INT | Inlet Section |  |
| INV | Inverter |  |
| ISD | Integrated Plant Shutdown |  |
| ISU | Integrated Plant Startup |  |
| JBX | Junction Box |  |
| LOS | Lube Oil |  |
| LPT | LP Steam Turbine |  |
| LSD | Leak and Seepage Detection |  |
| MCW | Misc. Cooling Water Chemical Feed | Cavalier |
| MFW | Miscellaneous Water Treatment Chemical Feeds Systems | Cavalier |
| MON | Cranes and Monorails System | Cavalier |
| NIT | Nitrogen Storage & Supply |  |
| OSG | OTSG A System | Cavalier |
| OWS | Oily Water Separation |  |
| PCS | Filtered Water Cleaning Skid | Cavalier |
| PFS | Filtrate system | Cavalier |
| PIP | Pipe |  |

| Process System Identifier | Topic Description | Only for use here |
| --- | --- | --- |
| PIS | Plant Process Information |  |
| PLS | Plant Lighting |  |
| POC | Polisher Common System | Cavalier |
| PPA | Switchyard and Substation |  |
| PPS | Photovoltaic Power Systems | DE9 |
| PSS | Plant Security |  |
| PWS | Water – Potable Water Supply |  |
| ROS | Reverse Osmosis System | Cavalier |
| ROT | Rotor |  |
| RWS | Water – Raw Water Supply |  |
| SAS | Service Air |  |
| SAX | Auxiliary Steam |  |
| SBS | Steam – Blowdown |  |
| SCR | Selective Catalytic Reduction |  |
| SCS | Steam – Combustion Turbine Cooling Supply |  |
| SCT | Steam – Combustion Turbine Cooling Return |  |
| SEP | Steam – Extraction and Process Condensate |  |
| SHP | Steam – High Pressure |  |
| SHS | Bleach (Sodium Hypochlorite) Systems | Cavalier |
| SIP | Steam – Intermediate Pressure |  |
| SLP | Steam – Low Pressure |  |
| SPG | Combustion Turbine – Starting Package |  |
| SPN | GT SPRINT and Water Injection System | Cavalier |
| SRC | Steam – Reheat Cold |  |
| SRH | Steam – Reheat Hot |  |
| SSW | Sanitary Sewer |  |
| STA | Steam Turbine – Generator Auxiliaries |  |
| STC | Steam Turbine – Generator Cooling and Purge |  |
| STG | Steam Turbine – Generator |  |
| STM | Steam Supply |  |
| SVD | Steam Turbine – Vents and Drains |  |
| SWS | Service Water Supply |  |
| SZS | Sodium Zeolite Softener System | Cavalier |
| TBS | Combustion Turbine – Turbine Section |  |
| Process System Identifier | Topic Description | Only for use here |
| TNG | Turning Gear |  |
| WNS | Waste Neutralization System | Cavalier |
| WSI | Water / Steam Injection |  |
| WST | Weather Station |  |
| WTG | Wind Turbine Generator |  |
| WTP | Water Treatment – Potable Water |  |
| WTR | Water – Supply |  |
| WTS | Water Treatment – Service Water |  |
| WWC | Water – Waste Water Collection and Treatment |  |
| WWS | Combustion Turbine – Water Wash |  |
| XFR | Transformer |  |
| YAW | Yaw Directional |  |

Attachment 7 - Kind/Style/Nature/Purpose Identifiers (KK)

Applicable to Coding of Documentation and Drawings (Not used in Maximo)

Kind identifier will be two-letter alpha designators as follows:

| Kind Identifier | Topic Description | Explanatory Notes | Includes records of this nature | Applicable Domain(s) |
| --- | --- | --- | --- | --- |
| AC | Area Classification | Electrical designation for rating of instruments and electrical components in the area, i.e., Class and Division. |  | EIC, EEL |
| BD | Block Interconnect Diagrams | Showing functionality or relationships with standard block diagram notation, but not logic diagrams. |  | EIC |
| BL | Balances | Heat, mass, water | Heat balances, HRSG performance data, performance curves | EMP, EEL |
| BM | Bill of Materials | Primary purpose of drawing is to convey a breakdown of the individual components of a piece of equipment. If drawing contains a lot of other information such as dimensions, design conditions etc. it is likely a data sheet. |  | EMP, EIC, EEL, ECS |
| DD | Design Details & Calculations | Equipment details and specifics (i.e. not outlines or arrangements) Design calculations, but not comprehensive studies/reports. | Weld details, pipe end preps, structural connections, panel details, weld maps Flow nozzle calcs, electrical protection and load calcs, steel calcs | EMP, EIC, EEL, ECS |
| DS | Data Sheets | Standard vendor specification sheets for valve, instrument, actuator, motor or some standard piece of equipment or component. Not to be confused with Specifications which are broader and project specific. | Valve, instrument, actuator or motor spec sheet, Calibration data, MSDS | EMP, EIC, EEL |

| Kind Identifier | Topic Description | Explanatory Notes | Includes records of this nature | Applicable Domain(s) |
| --- | --- | --- | --- | --- |
| EV | Environmental |  |  |  |
| GA | General Arrangements | General Arrangements and Outlines (for equipment) – overall views of equipment or components, typically including a top view and side view, as well as outline dimensions and partial layout. Cranes are considered civil and structural. | Control panel arrangement, pump outline, HRSG elevation view | EMP, EIC, EEL, ECS |
| ID | Instruction Document | Used for ENMAX Power Supply Work Instructions, Practice Guidelines, Technical Training material, general guidance and reference material. These documents provide a more free format to content than a Standard or Procedure but are still managed and version controlled. | Desktop guides, work instructions Technical manuals and industrial guidelines Training materials | ARS, DOC, EMM, ENG, OPS, QAP |
| IS | Isometrics (ISO) | Piping only, tubing details should go under LP. | Piping isometrics | EMP |
| LD | Logic Diagram / Scientific Apparatus Makers Association (SAMA) Symbology |  | DCS logic, electrical protection logic | EIC, EEL |
| LP | Location and Positioning | For instrumentation – shows where instruments are located and mounted, as well as conduit and tubing connections and routing for instruments. | Oil pressure transmitter location and tube routing | EIC |
| LS | Legends and Symbols |  | P&ID legend, logic symbols | EMP, EIC, EEL, ECS |
| MG | Maintenance Guide | General guidelines related to facility maintenance practices. Documents to be managed similar to Instruction Document (ID) category. | Guides for system / equip maintenance | OPS, MNT, ECS, EMP. EEL. EIC |
| ON | Operating Procedures - OffNormal |  |  |  |

| Kind Identifier | Topic Description | Explanatory Notes | Includes records of this nature | Applicable Domain(s) |
| --- | --- | --- | --- | --- |
| OS | Operating Procedures - Standard | ENMAX operating procedures and guidelines. For vendor procedures see VD. | HRSG start up instructions. | EMP, EIC, EEL |
| PD | P&ID - Piping & Instrumentation Diagram | Detailed process diagrams that include line, valve and instrument designations. |  | EMP, EIC |
| PF | Process Flow Diagrams (PFD) | Basic process diagrams showing the process configuration but which do not include all the details found on a P&ID. | HRSG flow path schematic | EMP, EIC |
| PL | Plans, Layouts, Sections, Elevations (for buildings and structures) | Intended for building layouts, floor and piping plans. Includes Plot Plans. Can be used for Strategy planning documents (ex. AMS-MGT). Not to be used for equipment (GA) | Generation building GA Site landscaping and grading plans | ECS, EMP, OPS-ERP, AMS-MGT only |
| PR | Procedure | Exclusively used for ENMAX procedures. For customized vendor developed procedures specific to ENMAX see VD. |  |  |
| PS | Piping Supports, and Special Details | Details of hangers, anchors, expansion joints, pipe shoes, saddles, etc. |  | EMP |
| RC | Regulatory Compliance | All program level documents that address ENMAX's legal obligations to a specific regulatory body. Includes: regulatory documents, building permits, development permits, checklists, training, and inspection and audit records. Example: GG-CF-00-QAP-ELE-RC- 0001 = QMP for electrical discipline as filed with the SCC. | QAP, IMP, CRN, SCC, ARS, AES, ABSA, BLD | ARS, EEL, EMP, QAP |
| RL | Register / List / Log / Index (such as line and equipment lists) | Documents consisting of a list or table of information. | Valve list Document list Termination list | EMP, EIC, EEL |

| Kind Identifier | Topic Description | Explanatory Notes | Includes records of this nature | Applicable Domain(s) |
| --- | --- | --- | --- | --- |
| RT | Report / Record / Study | Project Turnover Packages will be coded as RT and placed in the Record Vault. All other comprehensive studies or investigations can be coded as “RT” but will stored in either the project InfoLink fold or the Info Vault - includes official reports, and certificates of compliance. | Grounding study, geotech reports, Turnover pkg, commissioning documents, Stress Analyses | EMP, EIC, EEL, ECS |
| SC | Cable Schedules | Cable, Pipe Schedules. |  | EMP, EIC, EEL, ECS |
| SD | Schematics and Diagrams | Functional or illustrative diagrams or sketches showing connections, relationships or function (but not details of WD or PD). | Marshalling | EMP, EIC, EEL |
| SL | Single Line and Three Line Diagrams | Electrical overview and detail drawings. |  | EEL |
| SP | Specifications | Standard that applies to or defines a broad range of requirements for equipment. Generally project-specific (i.e. not standard data sheets (DS)). | Painting spec, DCS spec, | EMP, EIC, EEL, ECS |
| SS | System Summary Description and Overview |  |  |  |
| ST | Standard | Exclusively used for ENMAX Standards. |  |  |
| VD | Vendor generated Data or documents customized for ENMAX use | Vendor procedures and operations / installation manuals that is specifically customized for ENMAX applications. Standard literature that can be obtained on vendor websites is not be coded and processed into the system of records. Project Drawings shall be put under separate categories (GA, DD). | O&M manuals, storage instructions including longterm, lift erection procedures, | EMP, EIC, EEL, ECS, OEM, CPM |
| WD | Wiring Diagrams | Showing electrical wiring and connections. | Panel wiring arrangement | EIC, EEL |
| WL | Loop Diagrams | Instrument and DCS loops and wiring terminations. | DCS I/O panel terminations | EIC |

Attachment 8 – Numbering Interdependencies – Standards, Procedures and Forms

Standards and Procedures numbering format follows the document format BB-AA-UU-DDD-SSS-KK-nnnn

and have the following approved interdependencies.

| DDD | DDD-SSS | Description |
| --- | --- | --- |
| DOC | DOC-MGT | Document Management – Management |
| QAP | QAP-MGT | Quality Assurance Program – Management |
|  | QAP-ABS | Quality Assurance Program – Alberta Boilers Safety Association (ABSA) |
|  | QAP-ELE | Quality Assurance Program – Electrical (EQMP) |
| ENG | ENG-DES | Engineering – Design |
|  | ENG-SSC | Engineering – Systems, Structures and Components |
| ENV | ENV-EMS | Environment – Environmental Management |
|  | ENV-MGT | Environment – Management |
| ARS | ARS-CIP | Alberta Reliability Standards – Critical Infrastructure Protection |
|  | ARS-EOP | Alberta Reliability Standards – Emergency Preparedness and Operations |
|  | ARS-PRC | Alberta Reliability Standards – Protection and Control |
|  | ARS-VAR | Alberta Reliability Standards – Volt Ampere Reactive |
|  | ARS-TOP | Alberta Reliability Standards – Transmission Operations |
| SAF | SAF-ADM | Safety – Industrial Safety Administration |
|  | SAF-HZM | Safety – Hazard Management and Assessment |
|  | SAF-MGT | Safety – Management |
|  | SAF-OHH | Safety – Occupational Health and Hygiene |
|  | SAF-PPE | Safety – Personal Protective Equipment |
|  | SAF-WPR | Safety – Worker Protection |

| KK | Kind Description |
| --- | --- |
| ST | Standard |
| PR | Procedure |
| PL | Plan (OPS-ERP Emergency Response & AMS-MGT Strategic Asset Management only) |
|  | xxx - Form number |

Forms Numbering format follows the drawing format

BB-AA-UU-DDD-SSS-KK-nnnn-xxx

- Where nnnn denotes the Standard or Procedure number.

- Where xxx denotes the form number of the Procedure the form belongs to.

Operations and Maintenance Procedures numbering format follows the document format BB-AA-UU-DDD-SSS-KK-nnnn

and will use the following for DDD and KK.

| DDD | Description |
| --- | --- |
| OPS | Operations |
| MNT | Maintenance |

| KK | Description |
| --- | --- |
| ON | Operating Procedures – Off-Normal |
| OS | Operating Procedures – Standard |
| PL | Emergency Response Plan - only |
| PR | Procedure – General |
|  | xxx - Form number |

AES, ARS and QAP Procedures numbering format follows the document format BB-AA-UU-DDD-SSS-KK-nnnn

and will use the following for DDD and KK.

| DDD | Description |
| --- | --- |
| AES | AESO |
| ARS | Alberta Reliability Standards |
| QAP | Quality Assurance Program |

| KK | Description |
| --- | --- |
| PR | Procedure – General |
| RC | Regulatory Compliance |
|  | xxx - Form number |